## Slide 1: A project on Electrical Service Design
a presentation by
1706007 – Md. Rafiqul Islam Rafi
1706008 – Sheikh Munim Hussain
1706009 – Jahid Hasan Tushar
1706017 – Md. Jahidul Hoq Emon
1706020 – Shafin Shadman Ahmed
1706032 – Ayan Biswas Pranta
1706033 – Azazul Islam
Group No:
3

## Slide 2
Why Electrical Service Design?
To create proper environment for productive work and comfortable life.
To provide benefits like energy supply, communication, ventilation, drainage system etc.
To assure emergency supply under outage situation.
To ensure appropriate protection in case any fault.
To make suitable accommodation irrespective of difficulty or age

## Slide 3
Floor Plan – Ground Floor

## Slide 4
Floor Plan – Typical Floor

## Slide 5
Fitting and Fixtures Layout – Ground Floor

## Slide 6
Fitting and Fixtures Layout – Typical Floor

## Slide 7
Electrical Appliances and Fixture / Fittings Schedule

## Slide 8
Conduit Layout – Ground Floor

## Slide 9
Conduit Layout – Typical Floor

## Slide 10
Conduit Schedule

## Slide 11
Power Socket Layout – Ground Floor

## Slide 12
Power Socket Layout – Typical Floor

## Slide 13
Conduit of TV, Telephone and Data Network

## Slide 14
Conduit of TV, Telephone and Data Network

## Slide 15
Calculation For Lightning Protection System

## Slide 16
Lightning Protection System

## Slide 17
Calculation for Light Bulbs and Fans(Typical Floor)

## Slide 18
Calculation for Light Bulbs and Fans(Typical Floor Contd.)

## Slide 19
Calculation for Light Bulbs and Fans(Typical Floor Contd.)

## Slide 20
Calculation for Light Bulbs and Fans(Typical Floor Contd.)

## Slide 21
Calculation for Light Bulbs and Fans(Typical Floor Contd.)

## Slide 22
Calculation for Light Bulbs and Fans(Typical Floor Contd.)

## Slide 23
Calculation for Light Bulbs and Fans(Ground Floor)

## Slide 24
Calculation for Light Bulbs and Fans(Ground Floor Contd.)

## Slide 25
Switch Board Connection Diagram – Ground Floor

## Slide 26
Switch Board Connection Diagram – Ground Floor (Contd..)

## Slide 27
Switch Board Connection Diagram – Ground Floor – Calculation ​

## Slide 28
Switch Board Connection Diagram – Typical Floor

## Slide 29
Switch Board Connection Diagram – Typical Floor (Cont..)

## Slide 30
Switch Board Connection Diagram – Typical Floor – Calculation
Formula for ampere rating, All Lights: 20 W, Ceiling Fan: 100 W, Exhaust Fan: 40 W, Switchboard Sockets: 100 W, 3-pin Sockets: 20 A/4000 W, V = 220 V, pf = 0.7 Typical Floor Switch Board CKT1 Rating So, 2×1.5 rm BYM + 1.5 BYA are used. CKT2 Rating So, 2×1.5 rm BYM + 1.5 BYA are used. CKT3 Rating So, 2×1.5 rm BYM + 1.5 BYA are used. | CKT4 Rating So, 2×1.5 rm BYM + 1.5 BYA are used. CKT5 Rating So, 2×1.5 rm BYM + 1.5 BYA are used. CKT6 Rating So, 2×1.5 rm BYM + 1.5 BYA are used. CKT7 Rating So, 2×1.5 rm BYM + 1.5 BYA are used.

## Slide 31
Emergency Switch Board Connection Diagram – Ground Floor

## Slide 32
Emergency Switch Board Connection Diagram – Ground Floor - Calculation

## Slide 33
Emergency Switch Board Connection Diagram – Typical Floor

## Slide 34
Emergency Switch Board Connection Diagram – Typical Floor - Calculation
Formula for ampere rating,
Bulb 20W
Ceiling Fan 100W
Switchboard Socket 100W
Three pin socket 20 A, 4000W
V = 220 V, pf = 0.7
CKT1’ Rating
So, 2×1.5 rm BYM + 1.5 BYA are used.
CKT2’ Rating
So, 2×1.5 rm BYM + 1.5 BYA are used.
CKT3’ Rating
So, 2×1.5 rm BYM + 1.5 BYA are used.

## Slide 35
Sub Distribution Board(SDB) Diagram – Ground Floor

## Slide 36
Sub Distribution Board(SDB) Diagram – Ground Floor

## Slide 37
Sub Distribution Board(SDB) Diagram – Ground Floor – Calculation

## Slide 38
Sub Distribution Board(SDB) Diagram – Typical Floor

## Slide 39
Sub Distribution Board(SDB) Diagram – Typical Floor – Calculation
Total SDB Load = Total load from CKTs × 0.7 + Total Power Socket Load × 0.2 Total load from CKTs = CKT1 Load + CKT2 Load + CKT3 Load + CKT4 Load + CKT5 Load + CKT6 Load + CKT7 Load SDB Current = , Power Socket Load = 4000 W, Voltage = 220 V, Power Factor = 0.7 CKT1 Load = (100 * 2 + 100 * 2 + 40 + 20 * 4) W = 520 W CKT2 Load = (100 * 2 + 100 + 40 * 2 + 20 * 6) W = 500 W CKT3 Load = (100 * 2 + 20 * 2) W = 240 W CKT4 Load = (100 * 3 + 20 * 3) W = 360 W CKT5 Load = (100 * 2 + 20 * 2) W = 240 W CKT6 Load = (100 * 2 + 100 + 20 * 4) W = 380 W CKT7 Load = (100 * 2 + 100 * 2 + 20 * 3) W = 460 W Total load from CKTs = 2700 W Total Load From Power Socket = 4000 W * 6 = 24000 W SDB Load = 2700 * 0.7 + 24000 * 0.2 = 6690 W SDB Current = A = 43.442 A So, 50 A SP MCCB is needed from SDB to MDB and 2 × 25 rm BYM + 25 BYA are used.

## Slide 40
Emergency Sub Distribution Board(ESDB) Diagram – Ground Floor

## Slide 41
Emergency Sub Distribution Board(ESDB) Diagram – Ground Floor – Calculation
In ESDBG1,
pf = 0.7
Total load = (100+20)*0.7= 84 W
So, 5A SP MCCB is needed from ESDBG1 to EMDB & 2×1.5 rm BYM + 1.5 BYA ECC are used.
In ESDBG2,
pf = 0.7
Total load = 40 * 0.7 =28 W
So, 5A SP MCCB is needed ESDBG2 to EMDB & 2×1.5 rm BYM + 1.5 BYA ECC are used.

## Slide 42
Emergency Sub Distribution Board(ESDB) Diagram – Typical Floor

## Slide 43
Emergency Sub Distribution Board(ESDB) Diagram – Typical Floor – Calculation
Total ESDB Load = Total load from CKTs x 0.7 + Total Power Socket Load x 0.2
Total load from CKTs = CKT1’ Load + CKT2’ Load + CKT3’ Load
ESDB Current =
Power Socket Load = 4000W
Voltage = 220V
Power Factor = 0.7
CKT1’ Load = = 140W
CKT2' Load = = 140W
CKT3’ Load = = 120W
Total load from CKTs = 400 W
Total Load From Power Socket = 4000W
ESDB Load = 400 * 0.7 + 4000 * 0.2 = 1080 W
ESDB Current =
So, 10A SP MCCB is needed from ESDB to EMDB.
But, Q3 has a current rating more than this range. So, a 30A SP MCCB is used from ESDB to EMDB.

## Slide 44
Emergency Main Distribution Board Diagram

## Slide 45
MDB

## Slide 46
Calculations for MDB and EMDB

## Slide 47
Calculations for MDB and EMDB

## Slide 48
Reference

## Slide 49
Acknowledgement
Special thanks to honorable Yeasir Arafat Sir for giving us an opportunity to present our project and enhancing our knowledge and experience in the field of Electrical Systems Designing.

## Slide 50
Acknowledgement
Also, a ton of thanks goes to honorable Ashiqur Rasul Sir for helping us to gain knowledge about CAD and how to use it for ESD drawings. Without his advice, our project couldn't have probably come this far.

## Slide 51: Thank You